## Data by tree tag id#
Tree # | Tree Temp © | Efflux (mmol CO2 m-2 s-1) | DCO2 (mmol CO2 mmol-1)
43 | 15.3 | 0.815 | 16.5
41 | 14.1 | 0.909 | 18.4
39 | 13.4 | 0.988 | 20
38 | 13.4 | 1.11 | 22.5
36 | 13.8 | 1.34 | 27.1
42 | 14.3 | 1.42 | 28.8
6 | 14.7 | 1.73 | 35.1
5 | 14.3 | 1.84 | 37.2
40 | 14 | 2.24 | 45.4
7 | 14.6 | 5.9 | 119.4

## Metadata
Column | Description
A - Obs | Observation number made at time of data collection
B - Time | Number of seconds after LI-6400 file was opened
C- Area | Bark area (cm2) inside cuvette
D- Photo | -1 * Stem Efflux (mmol CO2 m-2 s-1)
E - Tair | Temperature of sampled air
F- CO2R | CO2 concentration of reference air (mmol mol-1)
G- CO2S | CO2 concentration of sample air (mmol mol-1)
H- DCO2 | Column F minus Column E
I – H2OR | H2O concentration of reference air (mmol mol-1)
JI – H2OS | H2O concentration of sample air (mmol mol-1)
K – RH_R | Relative humidity of reference air (%l)
L – RH_S | Relative humidity of sample air (%)
M - Flow | Flow rate of air through cuvette (mmol s-1)
N - Press | Atm Press KPa

## 071203stemrespsub (RCMP)
OpenRecomp 3.0
Wed Jul 30 2003 16:36:42
ComputeList= | /User/Configs/Comps/Default
OPEN 3.4
Sat Jul 12 2003 08:59:43
LogFormat= | /User/Configs/LogFormats/Std Output
9:00
Obs | Time | Area | Photo | Tair | CO2R | CO2S | DCO2 | H2OR | H2OS | RH_R | RH_S | Flow | Press
1 | 1909.8 | 101 | -1.34 | 19.65 | 1 | 28.1 | 27.1 | 18.047 | 16.983 | 74.87 | 70.45 | 499.9 | 95.26
2 | 2273.8 | 101 | -1.11 | 20 | 1.2 | 23.7 | 22.5 | 18.189 | 16.429 | 73.84 | 66.69 | 500 | 95.26
3 | 2553.5 | 101 | -0.988 | 20.24 | 1.4 | 21.4 | 20 | 18.381 | 16.403 | 73.53 | 65.61 | 499.9 | 95.27
4 | 2901.5 | 101 | -2.24 | 20.54 | 1.7 | 47.1 | 45.4 | 18.574 | 16.209 | 72.93 | 63.65 | 499.9 | 95.27
5 | 3291.5 | 101 | -1.42 | 20.87 | 1.8 | 30.6 | 28.8 | 18.898 | 16.81 | 72.72 | 64.69 | 500.1 | 95.28
6 | 4093 | 101 | -0.909 | 21.05 | 1.8 | 20.2 | 18.4 | 19.518 | 17.35 | 74.29 | 66.04 | 500.1 | 95.29
7 | 4949.8 | 101 | -0.815 | 21.38 | 1.8 | 18.3 | 16.5 | 20.075 | 17.786 | 74.88 | 66.35 | 500 | 95.3
8 | 5362.3 | 101 | -5.9 | 21.62 | 2 | 121.4 | 119.4 | 20.221 | 18.566 | 74.33 | 68.24 | 499.9 | 95.3
9 | 5728 | 101 | -1.73 | 21.82 | 2 | 37.1 | 35.1 | 20.373 | 17.828 | 73.99 | 64.74 | 500.1 | 95.31
10 | 6098.3 | 101 | -1.84 | 22 | 2.3 | 39.5 | 37.2 | 20.533 | 17.438 | 73.75 | 62.63 | 500.1 | 95.31