## Data by tree tag id#
Tree # | Tree Temp | DCO2

## Metadata
Column | Description
A - Obs | Observation number made at time of data collection
B - Time | Number of seconds after LI-6400 file was opened
C- Area | Bark area (cm2) inside cuvette
D- Photo | -1 * Stem Efflux (mmol CO2 m-2 s-1)
E - Tair | Temperature of sampled air
F- CO2R | CO2 concentration of reference air (mmol mol-1)
G- CO2S | CO2 concentration of sample air (mmol mol-1)
H- DCO2 | Column F minus Column E
I – H2OR | H2O concentration of reference air (mmol mol-1)
JI – H2OS | H2O concentration of sample air (mmol mol-1)
K – RH_R | Relative humidity of reference air (%l)
L – RH_S | Relative humidity of sample air (%)
M - Flow | Flow rate of air through cuvette (mmol s-1)
N - Press | Atm Press KPa

## 062603stemresp
OPEN 4.03
Thr Jun 26 2003 08:41:10
Unit= | PSC-843
ComputeList= | /User/Configs/Comps/Default
BLCTable= | /Sys/Lib/StdBLCTable
LightSource= | Sun+Sky
LogFormat= | /User/Configs/LogFormats/Std Output
PromptList= | /User/Configs/Prompts/Default (none)
08:43:51 24
Obs | Time | Area | Tair | CO2R | CO2S | DCO2 | H2OR | H2OS | RH_R | RH_S | Flow | Press
1 | 854.4 | 6 | 20.44 | -3.02 | 79.66 | 82.68 | 11.845 | 12.423 | 46.36 | 48.62 | 500.5 | 94.37
2 | 1678.8 | 101 | 20.24 | 360.81 | 379.81 | 19 | 11.284 | 11.731 | 44.7 | 46.48 | 500.7 | 94.37
3 | 2084 | 101 | 20.34 | 361.48 | 396.72 | 35.24 | 11.12 | 11.601 | 43.79 | 45.69 | 500.7 | 94.37
4 | 2476.1 | 101 | 20.29 | 359.78 | 427.88 | 68.1 | 10.954 | 12.153 | 43.26 | 47.99 | 499.6 | 94.36
5 | 2864.5 | 101 | 20.21 | 360.09 | 390.54 | 30.45 | 10.874 | 11.892 | 43.17 | 47.21 | 499.8 | 94.37
6 | 3264.8 | 101 | 20.31 | 360 | 384.4 | 24.4 | 10.886 | 11.607 | 42.95 | 45.8 | 499.8 | 94.38
7 | 3627 | 101 | 20.36 | 360.05 | 374.13 | 14.08 | 11.017 | 11.5 | 43.32 | 45.22 | 499.9 | 94.37
8 | 3951.2 | 101 | 20.39 | 360.17 | 416.8 | 56.63 | 11.133 | 12.343 | 43.69 | 48.44 | 499.8 | 94.36
9 | 4299.4 | 101 | 20.49 | 360.2 | 380.22 | 20.02 | 11.178 | 11.956 | 43.61 | 46.65 | 499.9 | 94.35
10 | 4639.8 | 101 | 20.59 | 360.31 | 400.86 | 40.55 | 11.205 | 12.037 | 43.43 | 46.65 | 499.8 | 94.35
11 | 5109.1 | 101 | 20.6 | 360.27 | 397.92 | 37.65 | 11.235 | 12.375 | 43.51 | 47.93 | 499.6 | 94.34