## Data by tree tag id#
Tree # | DCO2 | Tree temp
35 | 16.7 | 11.1
36 | 13.2 | 11.4
37 | 8.9 | 13
38 | 12.7 | 11.6
39 | 14.7 | 11.4
40 | 30.1 | 13.1

## 092102stemresp
OPEN 3.4
Sat Sep 21 2002 08:22:54
ComputeList= | /User/Configs/Comps/Default
BLCTable= | /Sys/Lib/StdBLCTable
LightSource= | 6400-02B RedBlue #SI-990 | 1 | 0.16
LogFormat= | /User/Configs/LogFormats/Std Output
PromptList= | /User/Configs/Prompts/Default (none)
8:23
Obs | Time | Area | Tair | CO2R | CO2S | DCO2 | H2OR | H2OS | RH_R | RH_S | Flow | Press
1 | 597.8 | 101 | 25.27 | 361.5 | 378.2 | 16.7 | 15.998 | 26.406 | 46.83 | 77.3 | 500.5 | 94.56
2 | 976.8 | 101 | 24.65 | 360.3 | 373.5 | 13.2 | 14.898 | 25.573 | 45.26 | 77.68 | 500.5 | 94.56
3 | 1399.8 | 101 | 23.81 | 361.3 | 370.2 | 8.9 | 14.538 | 23.578 | 46.45 | 75.33 | 499.9 | 94.58
4 | 1717.3 | 101 | 23.39 | 360.4 | 373.1 | 12.7 | 14.62 | 22.555 | 47.91 | 73.91 | 500 | 94.58
5 | 1996.3 | 101 | 23.12 | 359.8 | 374.5 | 14.7 | 14.642 | 19.706 | 48.77 | 65.64 | 500.2 | 94.6
6 | 2387.3 | 101 | 22.38 | 360.9 | 391 | 30.1 | 14.006 | 18.342 | 48.79 | 63.9 | 500 | 94.6

## Metadata
Column | Description
A - Obs | Observation number made at time of data collection
B - Time | Number of seconds after LI-6400 file was opened
C- Area | Bark area (cm2) inside cuvette
D- Photo | -1 * Stem Efflux (mmol CO2 m-2 s-1)
E - Tair | Temperature of sampled air
F- CO2R | CO2 concentration of reference air (mmol mol-1)
G- CO2S | CO2 concentration of sample air (mmol mol-1)
H- DCO2 | Column F minus Column E
I – H2OR | H2O concentration of reference air (mmol mol-1)
JI – H2OS | H2O concentration of sample air (mmol mol-1)
K – RH_R | Relative humidity of reference air (%l)
L – RH_S | Relative humidity of sample air (%)
M - Flow | Flow rate of air through cuvette (mmol s-1)
N - Press | Atm Press KPa