## Data by tree tag id#
Tree # | DCO2 | Tree Temp
41 | 5.4 | 11
42 | 19.3 | 8.7
43 | 6.9 | 7.7
45 | 22.2 | 9.1
46 | 20.3 | 10.2
47 | 17.2 | 9.4

## 092202stemresp
OPEN 3.4
Sun Sep 22 2002 08:30:47
ComputeList= | /User/Configs/Comps/Default
BLCTable= | /Sys/Lib/StdBLCTable
LightSource= | Sun+Sky
LogFormat= | /User/Configs/LogFormats/Std Output
PromptList= | /User/Configs/Prompts/Default (none)
08:31:02 41
Obs | Time | Area | Tair | CO2R | CO2S | DCO2 | H2OR | H2OS | RH_R | RH_S | Flow | Press
1 | 439.8 | 101 | 19.63 | 361.4 | 366.8 | 5.4 | 11.702 | 9.594 | 48.52 | 39.78 | 500.4 | 95.1
2 | 796.3 | 101 | 19.08 | 361.3 | 380.6 | 19.3 | 10.999 | 8.885 | 47.2 | 38.13 | 499.6 | 95.11
3 | 1136.5 | 101 | 18.46 | 360.1 | 367 | 6.9 | 10.469 | 9.035 | 46.7 | 40.31 | 499.7 | 95.12
4 | 1568 | 101 | 17.93 | 360.3 | 382.5 | 22.2 | 10.024 | 8.973 | 46.24 | 41.39 | 499.5 | 95.11
5 | 1986 | 101 | 17.46 | 360.7 | 381 | 20.3 | 9.735 | 9.696 | 46.26 | 46.07 | 499.6 | 95.11
6 | 2291.5 | 101 | 17.2 | 360.2 | 377.4 | 17.2 | 9.553 | 9.666 | 46.13 | 46.67 | 500.6 | 95.11

## Metadata
Column | Description
A - Obs | Observation number made at time of data collection
B - Time | Number of seconds after LI-6400 file was opened
C- Area | Bark area (cm2) inside cuvette
D- Photo | -1 * Stem Efflux (mmol CO2 m-2 s-1)
E - Tair | Temperature of sampled air
F- CO2R | CO2 concentration of reference air (mmol mol-1)
G- CO2S | CO2 concentration of sample air (mmol mol-1)
H- DCO2 | Column F minus Column E
I – H2OR | H2O concentration of reference air (mmol mol-1)
JI – H2OS | H2O concentration of sample air (mmol mol-1)
K – RH_R | Relative humidity of reference air (%l)
L – RH_S | Relative humidity of sample air (%)
M - Flow | Flow rate of air through cuvette (mmol s-1)
N - Press | Atm Press KPa