D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 4-11-07
Transferred Files
094-100
Deleted Files 

087-089
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	900
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	49/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.6

	Amp Hours
	222.5/26278.9

	Array/Load Current
	2.0/51

	Water/Snow Depth
	Trace

	Weather
	Overcast/cool


Comments:    Everything seems to be fine. 

