D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 4-16-08
Transferred Files
100-106
Deleted Files 

093-099
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	450
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	50/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.9

	Amp Hours
	163.6/4106.7

	Array/Load Current
	3.5/0094

	Water/Snow Depth
	Water level just below boardwalk

	Weather
	


Comments:     Everything is still standing.
