# LOST CREEK TOWER CHECK LIST

## Date	 4-25-07

#### Transferred Files	108-114

## Deleted Files 		101-107

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 800 | 4 |  |
| 555 ppm CO2 |  |  |  |
| 334 ppm CO2 |  |  |  |
| 442 ppm CO2 |  |  |  |
| Ind N2 |  |  |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) |  |
| Flux N2 (43) | 45 |
| Nafion N2 (51) |  |
| Profilers Ref cell (43) |  |
| Backflow Pressure |  |

| #### Battery Voltage | #### 26.8 |
| --- | --- |
| Amp Hours | 164.9/26600.4 |
| Array/Load Current | 3.0/80 |
| Water/Snow Depth |  |
| Weather | Partly Cloudy |

Comments:     Everything seemed to be good.