D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 4-30-08
Transferred Files
114-120
Deleted Files 

107-113
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	300
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	40

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.6

	Amp Hours
	117.7/4319.9

	Array/Load Current
	3.5/0093

	Water/Snow Depth
	Water visible under the boardwalk

	Weather
	Clear


Comments:     

