D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 8-13-08
Transferred Files
2205-225
Deleted Files 

None
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1450
	4
	

	555 ppm CO2
	1400
	5
	

	334 ppm CO2
	900
	5
	

	442 ppm CO2
	1600
	5
	

	Ind N2
	2000
	4
	


	
	FLOW

	Profiler sample cell   (51)
	57/51

	Flux N2                                    (43)
	43

	Nafion N2                     (51)
	50

	Profilers Ref cell        (43)
	39/43

	Backflow Pressure
	4/3.5


	Battery Voltage
	24.5

	Amp Hours
	161.7/6411.3

	Array/Load Current
	2.5/0062

	Water/Snow Depth
	

	Weather
	


Comments:     I forgot the Zip Disk today.  The data was collected the following week.
