D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 8-21-08
Transferred Files
220-225, 226-233
Deleted Files 

None
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1400
	4
	

	555 ppm CO2
	1450
	5
	

	334 ppm CO2
	600
	4
	

	442 ppm CO2
	1550
	5
	

	Ind N2
	1250
	4
	


	
	FLOW

	Profiler sample cell   (51)
	54

	Flux N2                                    (43)
	50/42

	Nafion N2                     (51)
	51

	Profilers Ref cell        (43)
	45

	Backflow Pressure
	3.5


	Battery Voltage
	24.8

	Amp Hours
	235.1/6646.6

	Array/Load Current
	2.0/0049

	Water/Snow Depth
	

	Weather
	Overcast and Hazy


Comments:     

