# LOST CREEK TOWER CHECK LIST

## Date	 8-27-08

#### Transferred Files	234-239

## Deleted Files 		220-225, 226-233

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 1300 | 4 |  |
| 555 ppm CO2 | 1300 | 5 |  |
| 334 ppm CO2 | 800 | 4 |  |
| 442 ppm CO2 | 1400 | 5 |  |
| Ind N2 | 700 | 4 |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) | 50 |
| Flux N2 (43) | 30/45 |
| Nafion N2 (51) | 35/51 |
| Profilers Ref cell (43) | 41 |
| Backflow Pressure | 3.5 |

| #### Battery Voltage | #### 25.4 |
| --- | --- |
| Amp Hours | 185.6/6834.2 |
| Array/Load Current | 4.5/0115 |
| Water/Snow Depth |  |
| Weather | Partly Coudy |

Comments: