D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 8-7-08
Transferred Files
212-219
Deleted Files 

205-211
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1500
	4
	

	555 ppm CO2
	1400
	5
	

	334 ppm CO2
	900
	4
	

	442 ppm CO2
	1650
	5
	

	Ind N2
	0/2600
	0/5
	A73027


	
	FLOW

	Profiler sample cell   (51)
	11/51

	Flux N2                                    (43)
	30/43

	Nafion N2                     (51)
	0/51

	Profilers Ref cell        (43)
	38/43

	Backflow Pressure
	2.5/3.5


	Battery Voltage
	25.2

	Amp Hours
	211.8/6249.5

	Array/Load Current
	4.5/113

	Water/Snow Depth
	

	Weather
	Partly Cloudy


Comments:     

