D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 8-8-07
Transferred Files
213-219
Deleted Files 

206-212
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	2000
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.3

	Amp Hours
	170.6/28877.8

	Array/Load Current
	3.5/0088

	Water/Snow Depth
	

	Weather
	Partly Cloudy


Comments:     

