# LOST CREEK TOWER CHECK LIST

## Date	 Dec 10, 2008

#### Transferred Files	336, 340, 341

## Deleted Files 		331-335

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 2050 | 5 |  |
| 555 ppm CO2 |  |  |  |
| 334 ppm CO2 |  |  |  |
| 442 ppm CO2 |  |  |  |
| Ind N2 |  |  |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) |  |
| Flux N2 (43) | 36/43 |
| Nafion N2 (51) |  |
| Profilers Ref cell (43) |  |
| Backflow Pressure |  |

| #### Battery Voltage | #### 23.8 |
| --- | --- |
| Amp Hours | 60.7/9131.7 |
| Array/Load Current | 1.0/0023 |
| Water/Snow Depth | ~5” |
| Weather | Overcast with Light snow |

Comments:     Everything was running when I arrived.  I am unsure why the data set was incomplete.  I am guessing low voltage.