D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 12-12-07
Transferred Files
None
Deleted Files 



	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	700
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	35

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	27.2

	Amp Hours
	199.9/1735.0

	Array/Load Current
	7.5/205

	Water/Snow Depth
	~7”

	Weather
	clear


Comments:     Computer was off.  There was no data.  I downloaded a file named backup.xxx and then changed its name to backuptest.xxx.  Then I created a new folder named backup hoping it would give the computer a place to put the data.
