D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 12-23-08
Transferred Files
352-357
Deleted Files 

345-351
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	2000
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	40

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	24.2

	Amp Hours
	163.4/9443.1

	Array/Load Current
	1.0/0024

	Water/Snow Depth
	~11”

	Weather
	snowing


Comments:     

