# LOST CREEK TOWER CHECK LIST

## Date	 12-30-08

#### Transferred Files	358-364

## Deleted Files 		352-357

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 2000 | 5 |  |
| 555 ppm CO2 |  |  |  |
| 334 ppm CO2 |  |  |  |
| 442 ppm CO2 |  |  |  |
| Ind N2 |  |  |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) |  |
| Flux N2 (43) | 50/43 |
| Nafion N2 (51) |  |
| Profilers Ref cell (43) |  |
| Backflow Pressure |  |

| #### Battery Voltage | #### 24.0 |
| --- | --- |
| Amp Hours | 133.2/9576.4 |
| Array/Load Current | 0/0 |
| Water/Snow Depth | ~10” |
| Weather | Overcast/Cold |

Comments: