D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 2-28-07
Transferred Files
053-054
Deleted Files 

045-050
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1300
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	45

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	24.8

	Amp Hours
	75.8/25233.2

	Array/Load Current
	1.0/0024

	Water/Snow Depth
	~6”

	Weather
	Overcast


Comments:     Computer was off when I arrived.
