# LOST CREEK TOWER CHECK LIST

## Date	 2-4-09

#### Transferred Files	021-028, 029-034 (two disks)

## Deleted Files 		008-020

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 1700 | 6 |  |
| 555 ppm CO2 |  |  |  |
| 334 ppm CO2 |  |  |  |
| 442 ppm CO2 |  |  |  |
| Ind N2 |  |  |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) |  |
| Flux N2 (43) | 30/43 |
| Nafion N2 (51) |  |
| Profilers Ref cell (43) |  |
| Backflow Pressure |  |

| #### Battery Voltage | #### 30.4 |
| --- | --- |
| Amp Hours | 370.9/10501.9 |
| Array/Load Current | 5.0/153 |
| Water/Snow Depth |  |
| Weather | Cold/partly cloudy |

Comments: