D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 2-6-08
Transferred Files
031
Deleted Files 

023-030
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	100/500
	4/4
	AGAD2542

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	56/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.8

	Amp Hours
	83.7/2624.4

	Array/Load Current
	100/270.0

	Water/Snow Depth
	~14”

	Weather
	


Comments:     Computer was off when I arrived.  For whatever reason the new N2 tank I put online only had 500 pounds in it.  I left it online anyway to use up the remainder.
