D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 2-7-07
Transferred Files
031-037
Deleted Files 

024
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1500
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	40

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	31.4

	Amp Hours
	238.1/24772.0

	Array/Load Current
	7.5/0236

	Water/Snow Depth
	

	Weather
	Clear and Cold


Comments:     Everything seemed to be fine.
