D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 1-16-08
Transferred Files
009
Deleted Files 

360, 003-008
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	350
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	23.6

	Amp Hours
	37.5/2111.5

	Array/Load Current
	0/0

	Water/Snow Depth
	

	Weather
	Overcast


Comments:     Everything was running fine,  I don’t know why there was only one days worth of data.
