D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 1-17-07
Transferred Files
010-012
Deleted Files 

003-009
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1750
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	41

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	29.0

	Amp Hours
	152.5/24194.4

	Array/Load Current
	8.5/246

	Water/Snow Depth
	~5”

	Weather
	Cold, clear, windy


Comments:     I accidentally left the Zip drive plugged in and it sucked the batteries dead.  The batteries recovered with the computer of and it restarted with no problems.
