D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 1-2-08
Transferred Files
354-360
Deleted Files 

346-353
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	500
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.8

	Amp Hours
	109.2/1986.8

	Array/Load Current
	10.0/268

	Water/Snow Depth
	~12”

	Weather
	Partly cloudy


Comments:     

