D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 1-23-06
Transferred Files
009, 019-022
Deleted Files 

none
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	300
	6
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	21/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	28.2

	Amp Hours
	195.5/2307.0

	Array/Load Current
	7.5/213

	Water/Snow Depth
	~10”

	Weather
	Very cold, below zero, overcast


Comments:     

