D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 1-31-08
Transferred Files
023-030
Deleted Files 

019-022
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	200
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	45/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	28.6

	Amp Hours
	233.0/2540.5

	Array/Load Current
	7.0/0202

	Water/Snow Depth
	~12”

	Weather
	Partly cloudy, very cold



Comments:     

