# LOST CREEK TOWER CHECK LIST

## Date	 1-9-08

#### Transferred Files	360, 003-008

## Deleted Files 		354-360

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 400 | 5 |  |
| 555 ppm CO2 |  |  |  |
| 334 ppm CO2 |  |  |  |
| 442 ppm CO2 |  |  |  |
| Ind N2 |  |  |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) |  |
| Flux N2 (43) | 51/43 |
| Nafion N2 (51) |  |
| Profilers Ref cell (43) |  |
| Backflow Pressure |  |

| #### Battery Voltage | #### 23.6 |
| --- | --- |
| Amp Hours | 86.5/2074.0 |
| Array/Load Current | 0/0 |
| Water/Snow Depth | ~6” |
| Weather | overcast |

Comments: