D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 7-10-08
Transferred Files
177-182, 183-191
Deleted Files 

None
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1700
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	41

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.4

	Amp Hours
	195.5/5623.2

	Array/Load Current
	2.5/0063

	Water/Snow Depth
	

	Weather
	Overcast, sprinkling


Comments:     Data downloaded last week was irretrievable from the ZIP disk so I downloaded it again this week.  I didn’t delete any of it.
