D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 7-11-07
Transferred Files
186-191
Deleted Files 

178-185
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	2200
	5
	

	555 ppm CO2
	1600
	5
	

	334 ppm CO2
	1000
	4
	

	442 ppm CO2
	400
	4
	

	Ind N2
	250
	4
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	40

	Nafion N2                     (51)
	>60

	Profilers Ref cell        (43)
	35

	Backflow Pressure
	Off


	Battery Voltage
	24.4

	Amp Hours
	133.4/28235.0

	Array/Load Current
	1.5/0036

	Water/Snow Depth
	

	Weather
	Clear


Comments:     I turned off the profiler today.
