D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 7-16-08
Transferred Files
192-197
Deleted Files 

177-182, 183-191
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1700
	4
	

	555 ppm CO2
	1600
	5
	

	334 ppm CO2
	1000
	5
	

	442 ppm CO2
	1900
	5
	

	Ind N2
	1800
	5
	


	
	FLOW

	Profiler sample cell   (51)
	55/51

	Flux N2                                    (43)
	40/43

	Nafion N2                     (51)
	51

	Profilers Ref cell        (43)
	35/43

	Backflow Pressure
	5/3.5


	Battery Voltage
	25.2

	Amp Hours
	119.7/5741.1

	Array/Load Current
	2.0/0050

	Water/Snow Depth
	

	Weather
	Cloudy


Comments:     Profiler turned on last week by Jonathon
