# LOST CREEK TOWER CHECK LIST

## Date	 7-23-08

#### Transferred Files	198-204

## Deleted Files 		192-197

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 1600 | 4 |  |
| 555 ppm CO2 | 1450 | 5 |  |
| 334 ppm CO2 | 900 | 4 |  |
| 442 ppm CO2 | 1800 | 5 |  |
| Ind N2 | 1100 | 5 |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) | 40/51 |
| Flux N2 (43) | 40/43 |
| Nafion N2 (51) | 49/51 |
| Profilers Ref cell (43) | 40/43 |
| Backflow Pressure | 3/3.5 |

| #### Battery Voltage | #### 25.0 |
| --- | --- |
| Amp Hours | 127.9/5869.1 |
| Array/Load Current | 3.5/0087 |
| Water/Snow Depth |  |
| Weather | Clear |

Comments: