D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 7-30-07
Transferred Files
205-211
Deleted Files 

198-204
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1600
	5
	

	555 ppm CO2
	1500
	5
	

	334 ppm CO2
	900
	5
	

	442 ppm CO2
	1800
	5
	

	Ind N2
	500
	5
	


	
	FLOW

	Profiler sample cell   (51)
	>60/51

	Flux N2                                    (43)
	50/43

	Nafion N2                     (51)
	52

	Profilers Ref cell        (43)
	43

	Backflow Pressure
	4/3.5


	Battery Voltage
	25.0

	Amp Hours
	168.5/06037.7

	Array/Load Current
	4.0/100

	Water/Snow Depth
	

	Weather
	Partly Cloudy


Comments:     

