D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 7-5-07
Transferred Files
178-185
Deleted Files 

171-177
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	2300
	4
	

	555 ppm CO2
	1700
	5
	

	334 ppm CO2
	1000
	4
	

	442 ppm CO2
	500
	4
	

	Ind N2
	0/2300
	0/4
	155332D


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	36/43

	Nafion N2                     (51)
	20/51

	Profilers Ref cell        (43)
	38/43

	Backflow Pressure
	0


	Battery Voltage
	24.8

	Amp Hours
	184.7/28101.5

	Array/Load Current
	2.5/0062

	Water/Snow Depth
	

	Weather
	Partly Cloudy


Comments:     

