D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 6-6-07
Transferred Files
150-156
Deleted Files 

143-149
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	400
	5
	

	555 ppm CO2
	1700
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	600
	4
	

	Ind N2
	1600
	4
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	30

	Nafion N2                     (51)
	50

	Profilers Ref cell        (43)
	38

	Backflow Pressure
	0


	Battery Voltage
	24.8

	Amp Hours
	113.9/27417.6

	Array/Load Current
	3.0/0074

	Water/Snow Depth
	

	Weather
	Clear and breezy


Comments:   LiCor and pump were off when I arrived.  Talked to Bruce and he stated that the battery may be low enough that they shut themselves off.  They should turn on again when battery voltage rebounds.  I left the site as it is.  Computer is starting to make bad hard drive noises.
