D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 6-13-07
Transferred Files
157-163
Deleted Files 

150-156
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	400
	4
	

	555 ppm CO2
	1700
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	600
	4
	

	Ind N2
	1000
	3
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	43

	Nafion N2                     (51)
	45/51

	Profilers Ref cell        (43)
	51/43

	Backflow Pressure
	0


	Battery Voltage
	24.8

	Amp Hours
	154.2/27572.1

	Array/Load Current
	3.0/0074

	Water/Snow Depth
	

	Weather
	Mostly clear


Comments:     The pump and liCor was still off.  I left it as it was again.  Bruce thought it was due to low battery voltage again.  Don’t know why.
