D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 6-20-07
Transferred Files
164-170
Deleted Files 

157-163
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	300
	5
	

	555 ppm CO2
	1700
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	500
	4
	

	Ind N2
	300/1600
	3/4
	M94241406


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	39/43

	Nafion N2                     (51)
	50

	Profilers Ref cell        (43)
	50/43

	Backflow Pressure
	0


	Battery Voltage
	24.8

	Amp Hours
	163.2/27735.4

	Array/Load Current
	2.0/0061

	Water/Snow Depth
	

	Weather
	Clear and breezy


Comments:     Zip drive was plugged in when I arrived.  I always unplug it to save batter juice.
