D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 6-27-07
Transferred Files
171-177
Deleted Files 

164-170
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	200/2450
	4
	DN0006

	555 ppm CO2
	1700
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	500
	4
	

	Ind N2
	800
	4
	


	
	FLOW

	Profiler sample cell   (51)
	0

	Flux N2                                    (43)
	50/43

	Nafion N2                     (51)
	>60/51

	Profilers Ref cell        (43)
	60/43

	Backflow Pressure
	0


	Battery Voltage
	24.6

	Amp Hours
	181.1/27916.7

	Array/Load Current
	3.0/74

	Water/Snow Depth
	

	Weather
	Clear


Comments:     Pump and LiCor still not running.  I checked to water level in a few batteries and they all seemed to be fine.
