D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 6-25-08
Transferred Files
170-176
Deleted Files 

163-169
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1900
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	48

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.4

	Amp Hours
	145.2/5318.3

	Array/Load Current
	3.0/0076

	Water/Snow Depth
	

	Weather
	Partly cloudy and breezy


Comments:     

