D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 3-14-07
Transferred Files
066-068
Deleted Files 

059-065
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1200
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	60/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.4

	Amp Hours
	262.8/2566.6

	Array/Load Current
	1.5/38

	Water/Snow Depth
	Snow mostly gone

	Weather
	overcast


Comments:     Computer was down when I arrived.
