D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 4-1-09
Transferred Files
077-090
Deleted Files 

063-076
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1700
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	46

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.2

	Amp Hours
	223.6/11728.3

	Array/Load Current
	1.0/0025

	Water/Snow Depth
	

	Weather
	Overcast and snow


Comments:     

