D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 3-28-07
Transferred Files
080-082
Deleted Files 

073-079
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1100
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	49/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.2

	Amp Hours
	159.7/26002.6

	Array/Load Current
	3.5/0092

	Water/Snow Depth
	Water level about 2” from bottom of boardwalk

	Weather
	Overcast and windy


Comments:     Computer was off when I arrived.
