D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 3-4-09
Transferred Files
056-062
Deleted Files 

042-055
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1800
	5
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	36/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	29.6

	Amp Hours
	149.5/11146.7

	Array/Load Current
	5.5/0164

	Water/Snow Depth
	

	Weather
	Partly Cloudy


Comments:     Removed LiCor from site today so I could send it to Ankur for evaluation and testing.
