D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 3-5-08
Transferred Files
058-064
Deleted Files 

051-057
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	100/900
	4/5
	Don’t know, switched Ind w/ Hi pure

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	55/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.2

	Amp Hours
	150.5/3260.6

	Array/Load Current
	2.5/65

	Water/Snow Depth
	

	Weather
	Overcast and snowing


Comments:    
