D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 3-7-07
Transferred Files
059-065
Deleted Files 

053-054
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1200
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	26.4

	Amp Hours
	166.3/25399.6

	Array/Load Current
	3.0/0079

	Water/Snow Depth
	~8”

	Weather
	Overcast


Comments:     This was the first day this winter that I was unable to drive back to the site.  The computer was still running when I arrived.
