D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 5-1-07
Transferred Files
115-120
Deleted Files 

108-114
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	700
	4
	

	555 ppm CO2
	
	
	

	334 ppm CO2
	
	
	

	442 ppm CO2
	
	
	

	Ind N2
	
	
	


	
	FLOW

	Profiler sample cell   (51)
	

	Flux N2                                    (43)
	53/43

	Nafion N2                     (51)
	

	Profilers Ref cell        (43)
	

	Backflow Pressure
	


	Battery Voltage
	25.8

	Amp Hours
	105.1/26705.6

	Array/Load Current
	4.0/104

	Water/Snow Depth
	

	Weather
	 Partly cloudy


Comments:     everything seemed fine.
