D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 5-16-07
Transferred Files
129-135
Deleted Files 

121-128
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	600
	5
	

	555 ppm CO2
	1750
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	750
	4
	

	Ind N2
	1700
	4
	


	
	FLOW

	Profiler sample cell   (51)
	32/51

	Flux N2                                    (43)
	35/43

	Nafion N2                     (51)
	45/51

	Profilers Ref cell        (43)
	43

	Backflow Pressure
	2.5/3.5


	Battery Voltage
	25.4

	Amp Hours
	153.2/27018.7

	Array/Load Current
	2.0/50

	Water/Snow Depth
	

	Weather
	Partly cloudy


Comments:     

