D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 5-30-07
Transferred Files
143-146
Deleted Files 

136-142
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	500
	4
	

	555 ppm CO2
	1800
	5
	

	334 ppm CO2
	1100
	4
	

	442 ppm CO2
	700
	4
	

	Ind N2
	450/2400
	4
	D2624


	
	FLOW

	Profiler sample cell   (51)
	50

	Flux N2                                    (43)
	42

	Nafion N2                     (51)
	51

	Profilers Ref cell        (43)
	35/43

	Backflow Pressure
	3.5


	Battery Voltage
	24.8

	Amp Hours
	117.8/27303.6

	Array/Load Current
	3.0/0074

	Water/Snow Depth
	

	Weather
	Hazy


Comments:    Everything seemed to be running fine. 

