# LOST CREEK TOWER CHECK LIST

## Date	 11-12-08

#### Transferred Files	310-316

## Deleted Files 		303-309

|  | ### PRESSURE | ### LINE | ### S/N |
| --- | --- | --- | --- |
| ## HI Pure N2 | 2300 | 6.5/5 | Newe tank put online 11-10-08 |
| 555 ppm CO2 | 850 | 4 |  |
| 334 ppm CO2 | 600 | 4 |  |
| 442 ppm CO2 | 700 | 5 |  |
| Ind N2 | 1950 | 3/4 |  |

|  | ### FLOW |
| --- | --- |
| ## Profiler sample cell (51) | 0 |
| Flux N2 (43) | 40 |
| Nafion N2 (51) | 51 |
| Profilers Ref cell (43) | 38 |
| Backflow Pressure | 0 |

| #### Battery Voltage | #### 24.2 |
| --- | --- |
| Amp Hours | 88.5/8803.4 |
| Array/Load Current | 0/0 |
| Water/Snow Depth | Sleet and snow on ground |
| Weather | Overcast, snowing |

Comments: I turned off the profiler today because the power was too low again.  I switched all relay’s to off, shut off pump with pumps red power button, flipped LiCor power switch, and closed all gas cylinder valves but the HP nitrogen.