D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 11-5-08
Transferred Files
303-309
Deleted Files 

296-302
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	700
	4
	

	555 ppm CO2
	1000
	5
	

	334 ppm CO2
	700
	4
	

	442 ppm CO2
	850
	5
	

	Ind N2
	750
	4
	


	
	FLOW

	Profiler sample cell   (51)
	>60/51

	Flux N2                                    (43)
	58/43

	Nafion N2                     (51)
	55/51

	Profilers Ref cell        (43)
	>60/43

	Backflow Pressure
	4.5/3.5


	Battery Voltage
	24.8

	Amp Hours
	233.3/8714.9

	Array/Load Current
	0/0

	Water/Snow Depth
	

	Weather
	Overcast


Comments:     LiCor was off when I arrived.  I decided to leave system run one more week and then I will shut off the profiler.
