D:\Towers\Cheas_Stuff\Lost_Creek_CkList


LOST CREEK TOWER CHECK LIST

Date
 10-17-07
Transferred Files
283
Deleted Files 

275-282
	
	PRESSURE
	LINE
	S/N

	 HI Pure N2
	1300
	5
	

	555 ppm CO2
	1500
	5
	

	334 ppm CO2
	950
	4
	

	442 ppm CO2
	350
	4
	

	Ind N2
	900
	4
	


	
	FLOW

	Profiler sample cell   (51)
	59

	Flux N2                                    (43)
	46

	Nafion N2                     (51)
	50

	Profilers Ref cell        (43)
	42

	Backflow Pressure
	4


	Battery Voltage
	24.0

	Amp Hours
	115.0/575.4

	Array/Load Current
	0/0

	Water/Snow Depth
	overcast

	Weather
	


Comments:     I shut off the profiler today.
